{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":6,"rows_kept":6,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["地面直排系统箱式变电站采购"]
["序号","设备、器材名称","型号及规格","单位","数量","备注"]
[1,"箱体",null,"套",1,"详见图纸及技术要求"]
[2,"10kV高压开关柜","XGN2-12","台",3,"详见图纸及技术要求"]
[3,"1140V低压开关柜","GGD-1200V","台",8,"详见图纸及技术要求"]
[4,"干式变压器","SCB11-4000/10/1.2kV 4000kVA UK=6%, Y,y0","台",2,"详见图纸及技术要求"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}